## Slide 1
Vanishing tilt-to-length coupling for a singular case in two-beam laser interferometers with Gaussian beams
Sönke Schuster, Gudrun Wanner, Michael Tröbs, and Gerhard Heinzel
Paul Edwards

## Slide 2
Sections
Introduction
Geometrical Coupling
Plane Waves
Gaussian Beams
Discussion
Conclusions

## Slide 3
1. Introduction
Beam misalignments couple into interferometric length readouts (TTL coupling)
Described as geometrical pathlength changes of the measurement beam axis
TTL coupling is cancelled to first-order for the special case:
  Identical Gaussian-Gaussian beam interference
  Large detector (no clipping), directly on the beam axis

## Slide 4
2. Geometrical Coupling
PD detects interference of measurement and reference beam
For a tilted measurement beam:
  Phase difference → Longitudinal Pathlength Sensing signal (sLPS), vanishes at 1st-order
  Arises from geometrical pathlength difference Dsgeo
dpivot = (dpivot+ Dsgeo)cos(a)…

## Slide 5
Reference beam centered on PD:
Measurement beam tilted by a:
(2.) Tilted Gaussian-Gaussian Interference

## Slide 6
Measurement beam tilted by a:
(2.) Measurement Beam Coordinate Transformation
Let zCOR = -dpivot:

## Slide 7
(2.) Measurement Beam Centers of Rotation (COR)
Introduce offset

## Slide 8
Infinite plane wave:
For the tilted measurement beam:
Extract the path length difference from complex phase of the integral over the overlap term:
Integration of the overlap term (square detector, z = 0, side = 2r):
3. Plane Waves

## Slide 9
(3.) Path length difference
Expanding:
Translate to slps
The path length difference matches geometrical analysis (for plane waves).

## Slide 10
4. Gaussian Beams
Consider the special case of two identical Gaussians at infinite PD
Neglecting amplitude and Gouy phase:
Integral of the overlap term (infinite PD, z = 0):
The path length change:
Proportionality Factor Comparison (a ~ 1mrad, z0=100mm, l=1064nm) | 
Plane Waves | Gaussians
~ cm. to m. | < pm. (vanishing)
Proportionality Factor Comparison (a ~ 1mrad, z0=100mm, l=1064nm) | 
Plane Waves | Gaussians
1.43e-5 pm

## Slide 11
Two reasons for vanishing coupling:
  an angle-dependent pathlength change (Dsgeo)
  an angle-dependent offset (doffset)
A lateral offset is inconsequential for plane waves
Investigate effects of the offset for Gaussians
  Introduce lateral offset, doffset[2][3]:
  Tilt meas. beam about its center on SEPD (dpivot=0)
  Shift ref. beam:
General coordinate transformation for meas. beam would be:
(4.) Additional Coupling Effects

## Slide 12
For tilted, offset Gaussians:
  Overlap integral
  Path length change:
The offset as its geometric expression:
Combining the two above for path length change:
Compare to path length change from only tilting (equal,opposite):
(4.) Additional Coupling Effects

## Slide 13
Digression from the special case, Gaussians of different waist positions (numerical/analytical)
Tilted Gaussians can also be expressed as an excitation of the HG 01 mode (for small misalignments)
5. Discussion

## Slide 14
6. Conclusions
Shown that:
  Computed coupling between two plane waves match expected path length change
  Coupling “vanishes” in LPS for two identical gaussians on large SEPD

## Slide 15
References
[1] Sönke Schuster, Gudrun Wanner, Michael Tröbs, and Gerhard Heinzel, "Vanishing tilt-to-length coupling for a singular case in two-beam laser interferometers with Gaussian beams," Appl. Opt. 54, 1010-1014 (2015).
[2] Gudrun Wanner and Gerhard Heinzel, "Analytical description of interference between two misaligned and mismatched complete Gaussian beams," Appl. Opt. 53, 3043-3048 (2014).
[3] D. Anderson, “Alignment of resonant optical cavities,” Appl. Opt. 23, 2944–2949 (1984).